## Scoring
Site Use/Name | Address | PV Calc array Size/Kw | Estimated Cost ($3.13/W) | kWh Calculated | kWh Annually | % of Load | Annual Electric Cost | Potential Annual Savings | Savings per Kw | 20YR REVENUE/KW | 20yr Array Revenue | Possible IRA Rebate | Rebate Amount | Simple Payback (yrs) | Notes
Uknown City Asset | 123 Example Street | 1025 | 3208250 | 1339971 | 906692 | 120% | 143633.35 | 172360.02 | 168.1561 | 3363.1223 | 3447200.4 | 50% | 1604125 | 9.3068

## Definitions
No Association Determination (NAD) | Determination letter from the MPCA or EPA stating that the property owner is not associated with any contamination found on site
HazMat Survey/RAP/CCP | Hazardous Material Survey, Response Action Plan (RAP), and Construction Contingency Plan (CCP) are certified documents for brownfield sites that denote what remediation work needs to be completed
Critical Infrastructure (CI) | City owned assets that are vital to providing service to the community (i.e. - pump station, street lamps, water reservior, Fire Hall, etc.)
SAIDI | System Average Interruption Duration Index. It is the minutes of non-momentary electric interruptions, per year, the average customer experienced.
SAIFI | System Average Interruption Frequency Index. It is the number of non-momentary electric interruptions, per year, the average customer experienced.
Slope | The rise (elavtion) on a site divided by the run (length)
Accesbility | The ease of which one can access the site with heavy equipment for installation, maintenance, etc.; take into account slope, approach, and condition of the roads
Zoning | Information and tables needed to determine allowed zoning can be found here: https://duluthmn.gov/media/15528/50-19-use-table.pdf
while reviwing zoning, ensure compliance with specific overlays such as floodzones and shoreland setbacks
Soil | Information regarding soils can be found here: https://websoilsurvey.nrcs.usda.gov/app/WebSoilSurvey.aspx
Orientation | Is the site squarely facing the direction and not impeded by slopes or shading obstructions (i.e. Hills, Buildings, etc.) and will the solar array fit squarely on the site
IRA | Indepth information on what credits are stackable and their requirments can be found here: https://www.cleanegroup.org/publication/investment-tax-credit-fact-sheets-bonus-credit-program/
Rooftop Obstructions | Roof mounted devices such as vents or rooftop HVAC units that would impede solar installation
Calculations | Array size and potential kWh for array were determined by using PV Watts Calculator developed by NREL: https://pvwatts.nrel.gov/

## Site Rubric Example
Property Address |  |  | PID(s) |  |  | Array Size Kw (DC) | Property Score | Maximum Possible
123 Example Street | [5 empty] | 1025 | 0 | 100
| Category (multiplier) | 5 Points (or as noted) | 4 Points (or as noted) | 3 Points (or as noted) | 2 Points (or as noted) | 1 Point (or as noted) | Category Score
Complete this section for every site evaluated
|  | City Owned | Tax Forfeit | Available/For Sale | Private | Conservation
| Ownership | [5 empty] | 0 |  | Instructions
|  | Grid Access | Transformer upgrade/install | Line Extension | Line extension & Transformer | No Grid Access |  |  | Mark an "x" in the box under the corresponding description of the property in each category. Only mark one "x" per category to ensure proper property score. Sheet will automatically populate score.
| Grid Accesibility (x2) | [5 empty] | 0
|  | 200+ | 151-200 | 101-150 | 51-100 | 0-50
| SAIDI Score (x1.5) | [5 empty] | 0
|  | 2.00+ | 1.34-1.99 | 0.67-1.33 | 0.01-0.66 | 0
| SAIFI Score (x1.5) | [5 empty] | 0 |  | Green Categories must be scored on every site. Only score the Yellow categories if the site is vacant or the Blue section if the site is occupied. the Yellow and Blue sections should never be completed for the same site
|  | Permitted/Accesory Use | Conditional Use (3 pts) | Potential Zoning Change (1 pt) | Not Permitted (0 pts) | Within Floodzone/Shoreland (-2 pts)
| Zoning | [5 empty] | 0
|  | None Needed/NAD | RAP/CCP Completed | HazMat Survey/Phase II | Phase I | Unknown
| Brownfield Work Needed | [5 empty] | 0
|  | Critical Infrastructure |  | Community Shelter/Hub |  | No CI resiliency created
| Service Disruption/resilience (x2) | [5 empty] | 0
|  | 70% Rebate Possible | 60% Rebate Possible | 50% Rebate Possible | 40% Rebate Possible | 30% Rebate Possible
| IRA Funding (x2) | [5 empty] | 0
|  | South | SW or SE | West | East | North
| Orientation | [5 empty] | 0
Complete the section below if the site is vacant
|  | 0%-2% | 2%-6% (3 pts) | 6%-10% (1 pt) | 10%-15% (0 pts) | > 15% (-2 pts)
| Average Slope | [5 empty] | 0
|  | Sandy/Loam |  | Silty/Clay |  | Bedrock
| Soils (majority of site) | [5 empty] | 0
|  | None in area | Site Adjacent (2.5 pts) | < 25% of site (0 pts) | 25%-50% of site (-1 pts) | > 50% of site (-3 pts)
| Wetlands | [5 empty] | 0
|  | No Trees | Brush (3 pts) | Saplings Only (2 pts) | Mature Trees (0 pts) | Heavily Wooded (-1)
| Foliage | [5 empty] | 0
|  | 2 Entry Points for heavy equipment | 1 Entry Point For heavy equipment | 2 small/dirt hevicle entrances | 1 small/dirt vehicle entrance | Access to site must be built (-1 pt)
| Accessibility (x1.5) | [5 empty] | 0
|  | > 1 MW System | 500 Kw - 1 MW System | 250 Kw - 500 Kw System | 100 Kw - 250 Kw System | < 100 Kw System
| Solar System Size (x1.5) | [5 empty] | 0
Complete the section below if the site is occupied by a structure
|  | > 6-12 Pitch | 5-12 Pitch | 4-12 Pitch | 3-12 Pitch | Flat Roof
| Roof Pitch | [5 empty] | 0
|  | Solar Ready | Roof good but need conduit | Roof Replacement | Structural Repairs | Complete Overhaul
| Structural Feasability (x1.5) | [5 empty] | 0
|  | No Obstructions | 1-2 Obstructions | 3-4 obstructions | 5+obstructions | no space
| Rooftop Obsrtuctions (x1.5) | [5 empty] | 0
|  | Heavy equipment/Internal Access | Heavy equipment/exterior access | Heavy equipment access only | Access with no heavy equipent | No access
| Accessibility | [5 empty] | 0
|  | 100-120% capacity | 90%-100% capacity | 80%-89% capacity | 70%-79% capacity | < 70% capacity
| % of Load Capability (x2) | [5 empty] | 0